## Prep
Flask | Sample Name | Solute | Solvent | flask w/ lid | + solvent | + sample | Sample | Total Solution | Mass Frac | PPM | Sm PPM | Sm Standard Preperetion | [5 empty] | Cr Standard Preperetion
B15 | Blank |  | 2% HNO3 | 8.0886 | 35.0207 | 35.0207 | 0 | 26.9321 | 1 | 0 | 0 | Sm ISmtial Concentration |  |  |  | Target Concentration |  | Cr ISmtial Concentration |  |  |  | Target Concentration
B16 | Sm 1 |  | 2% HNO3 | 8.1151 | 35.0597 | 35.1671 | 0.1074 | 20.0261 | 1 | 5363.0013 | 107.26 | 1000 | ppm |  |  | 10 | ppm | 1002 | ppm |  |  | 0.1 | ppm
Blank |  |  |  | Final | [8 empty] | 1000
Sample | 1 | 1 | 1 | 1 | 1 |  | Goal (ppm) | Dilution (x) | C_Sm (ppm) | C_actual (ppm) |  | Sample | 1.0189 | 1.1023 |  |  |  | Sample | 0.1 | 0.1 | 1
Solution | 10 | 1 | 1 | 10 | 1 |  | 10 | 10 | 0 | 0 |  | Solution | 10.1031 | 11.1051 |  | Dilution(x) |  | Solution | 10 | 10 | 1 |  | P. Dilution(x) | Dilution (x)
Dilution | 10 | 1 | 1 | 10 | 1 | [6 empty] | Dilution | 9.9157 | 10.0745 |  | 99.8955 |  | Dilution | 100 | 100 | 1 |  | 100 | 100
[12 empty] | Final Concentration | 10.0105 | ppm |  |  |  | Partial Conc | 10.02 | ppm
Sm 1 |  |  |  | Final | [13 empty] | Final Conc | 0.1002 | ppm
Sample | 1.0215 | 2.0795 | 1 | 1 | 1 |  | Goal (ppm) | Dilution (x) | C_Sm (ppm) | C_actual (ppm)
Solution | 2.989 | 7.0634 | 1 | 10 | 1 |  | 10 | 9.939 | 10.7918 | 539.592 |  | NAME | Sample Weight | Stan Weight | HNO3 Weight | Total
Dilution | 2.9261 | 3.3967 | 1 | 10 | 1 | [6 empty] | Blank - 0 | 1.0148 | 0 | 9.0305 | 10.0453
[12 empty] | Blank - 0.5 | 1.0128 | 0.5409 | 8.5209 | 10.0746
[12 empty] | Blank - 1 | 1.0111 | 1.0875 | 8.0351 | 10.1337
[12 empty] | Blank - 1.5 | 1.0106 | 1.5255 | 7.5103 | 10.0464
[12 empty] | Blank - 2 | 1.0011 | 2.0381 | 7.0077 | 10.0469
[12 empty] | Sm1 - 0 | 1.0181 | 0 | 9.0259 | 10.044
[12 empty] | Sm1 - 0.5 | 1.0169 | 0.5495 | 8.5041 | 10.0705
[12 empty] | Sm1 - 1 | 1.0174 | 1.0984 | 8.0076 | 10.1234
[12 empty] | Sm1 - 1.5 | 1.0203 | 1.5083 | 7.5289 | 10.0575
[12 empty] | Sm1 - 2 | 1.0202 | 2.013 | 7.0362 | 10.0694

## Randomizer
Column1 | Column2 | Column3 | Column4 | Column5
Sample | Sm1 - 1 |  | 3211 | 0.67892
Sample | Sm1 - 0 |  | 3209 | 0.69664
Sample | Sm1 - 0.5 |  | 3210 | 0.13214
Sample | Sm1 - 2 |  | 3301 | 0.12042
Sample | Sm1 - 1.5 |  | 3212 | 0.9402

## Full
Sample | [6 empty] | 147 Sm [ He ] | 148 Sm [ He ] | 152 Sm [ He ]
| Rjct | Data File | Acq. Date-Time | Type | Level | Sample Name | CPS | CPS | CPS
| FALSE | 001SMPL.d | ######## | Sample |  | Rinse | 6.67 | 13.35 | 3.34
| FALSE | 002SMPL.d | ######## | Sample |  | Sm1 - 1 | 4351047 | 3341411 | 8703643
| FALSE | 003SMPL.d | ######## | Sample |  | Sm1 - 0 | 766734.2 | 594567.2 | 1526031
| FALSE | 004SMPL.d | ######## | Sample |  | Sm1 - 0.5 | 2853590 | 2188981 | 5699346
| FALSE | 005SMPL.d | ######## | Sample |  | Sm1 - 2 | 6667411 | 5130684 | 13384719
| FALSE | 006SMPL.d | ######## | Sample |  | Sm1 - 1.5 | 5534469 | 4238307 | 11100655
| FALSE | 007SMPL.d | ######## | Sample |  | Rinse | 23.36 | 20.02 | 46.72
| FALSE | 008SMPL.d | ######## | Sample |  | Rinse | 16.68 | 3.34 | 43.38

## Calculations
|  |  | 147 Sm [ He ] | 148 Sm [ He ] | 152 Sm [ He ] |  |  | 147 Sm [ He ] |  | 148 Sm [ He ] |  | 152 Sm [ He ]
Name | Sample | Std | CPS | CPS2 | CPS3 | [10 empty] | Sm (ppm)
Sm1 - 0 | 1.0181 | 0 | 766734.2 | 594567.2 | 1526031 |  | b = | 1021878.2337 |  | 785206.7823 |  | 2026010.1755 | Vx = | 1.0186 | Cs = | 10.0105
Sm1 - 0.5 | 1.0169 | 0.5495 | 2853590 | 2188981 | 5699346 |  | m = | 2914156.9356 |  | 2237854.2693 |  | 5858613.1553
Sm1 - 1 | 1.0174 | 1.0984 | 4351047 | 3341411 | 8703643
Sm1 - 1.5 | 1.0203 | 1.5083 | 5534469 | 4238307 | 11100655 |  | Cx = | 3.4462 |  | 3.4484 |  | 3.3986
Sm1 - 2 | 1.0202 | 2.013 | 6667411 | 5130684 | 13384719
Sample | 147 Sm [ He ] | 148 Sm [ He ] | 152 Sm [ He ] | Dilution # | 147 | 148 | 152 | OG Conc (ppm) | 147 Sm % | 148 Sm% | 152 Sm%
Sm1_10ppm | 3.4462 | 3.4484 | 3.3986 | 9.939 | 34.2521 | 34.2731 | 33.7791 | 5363.0013 | 0.63867 | 0.63907 | 0.62985
|  |  |  | Replicate 1 |  |  | Replicate 2 |  |  | Replicate 3
name | mass of sample (g) | mas of std (g) | spiked Sm conc (ppm_sam) | Counts | yhat | ε | Counts | yhat | ε | Counts | yhat | ε
zero |  |  | -10000 |  | -2970085993.4539 |  |  | -2280801350.5309 |  |  | -5971055420.137
Sm1 - 0 | 1.0181 | 0 | 0 | 766734.2 | 1017954.7053 | -251220.5053 | 594567.2 | 782195.5962 | -187628.3962 | 1526031 | 2018148.3677 | -492117.3677
Sm1 - 0.5 | 1.0169 | 0.5495 | 5.4093 | 2853590 | 2625123.6807 | 228466.3193 | 2188981 | 2016380.0455 | 172600.9545 | 5699346 | 5249182.5874 | 450163.4126
Sm1 - 1 | 1.0174 | 1.0984 | 10.8074 | 4351047 | 4228958.9654 | 122088.0346 | 3341411 | 3248004.472 | 93406.528 | 8703643 | 8473514.7933 | 230128.2067
Sm1 - 1.5 | 1.0203 | 1.5083 | 14.7984 | 5534469 | 5414706.355 | 119762.645 | 4238307 | 4158568.9562 | 79738.0438 | 11100655 | 10857327.8525 | 243327.1475
Sm1 - 2 | 1.0202 | 2.013 | 19.7521 | 6667411 | 6886501.1566 | -219090.1566 | 5130684 | 5288796.2593 | -158112.2593 | 13384719 | 13816207.3739 | -431488.3739
|  |  |  | b/counts = | 1017954.7053 | 192557677448.0957 | b/counts = | 782195.5962 | 105077926227.0644 | b/counts = | 2018148.3677 | 743175910667.6985
|  |  |  | m/(counts/ppm) = | 297110.3948 |  | m/(counts/ppm) = | 228158.3546 |  | m/(counts/ppm) = | 597307.3569
|  |  |  | Cx/ppb = | 3.4262 |  | Cx/ppb = | 3.4283 |  | Cx/ppb = | 3.3787
|  |  |  | OG Sm mass frac = | 0.0063496 |  | OG Sm mass frac = | 0.0063535 |  | OG Sm mass frac = | 0.0062617
|  |  |  | SmCl3 wt.% = | 1.084% |  | SmCl3 wt.% = | 1.085% |  | SmCl3 wt.% = | 1.069%
1.079%
x-axis units = g_Sm per 1 million grams of diluted sample solution