## Prep
Flask | Sample Name | Solute | Solvent | flask w/ lid | + solvent | + sample | Sample | Total Solution | Mass Frac | PPM | Sm PPM | Sm Standard Preperetion | [5 empty] | Cr Standard Preperetion
B15 | Blank |  | 2% HNO3 | 8.0886 | 35.0207 | 35.0207 | 0 | 26.9321 | 1 | 0 | 0 | Sm ISmtial Concentration |  |  |  | Target Concentration |  | Cr ISmtial Concentration |  |  |  | Target Concentration
B16 | Sm 1 |  | 2% HNO3 | 8.1151 | 35.0597 | 35.1671 | 0.1074 | 20.0261 | 1 | 5363.0013 | 107.26 | 1000 | ppm |  |  | 1 | ppm | 1002 | ppm |  |  | 0.1 | ppm
Blank |  |  |  | Final | [8 empty] | 1000
Sample | 1 | 1 | 1 | 1 | 1 |  | Goal (ppm) | Dilution (x) | C_Sm (ppm) | C_actual (ppm) |  | Sample | 1.0204 | 0.2197 |  |  |  | Sample | 0.1 | 0.1 | 1
Solution | 10 | 1 | 1 | 10 | 1 |  | 10 | 10 | 0 | 0 |  | Solution | 10.0599 | 12.0406 |  | Dilution(x) |  | Solution | 10 | 10 | 1 |  | P. Dilution(x) | Dilution (x)
Dilution | 10 | 1 | 1 | 10 | 1 | [6 empty] | Dilution | 9.8588 | 54.8047 |  | 540.3079 |  | Dilution | 100 | 100 | 1 |  | 100 | 100
[12 empty] | Final Concentration | 1.8508 | ppm |  |  |  | Partial Conc | 10.02 | ppm
Sm 1 |  |  |  | Final | [13 empty] | Final Conc | 0.1002 | ppm
Sample | 1.0093 | 1.0203 | 1 | 1 | 1 |  | Goal (ppm) | Dilution (x) | C_Sm (ppm) | C_actual (ppm)
Solution | 10.0518 | 10.035 | 1 | 10 | 1 |  | 10 | 97.9519 | 1.095 | 54.7514 |  | NAME | Sample Weight | Stan Weight | HNO3 Weight | Total
Dilution | 9.9592 | 9.8353 | 1 | 10 | 1 | [6 empty] | Blank - 0 | 1.0148 | 0 | 9.0305 | 10.0453
[12 empty] | Blank - 0.5 | 1.0128 | 0.5409 | 8.5209 | 10.0746
[12 empty] | Blank - 1 | 1.0111 | 1.0875 | 8.0351 | 10.1337
[12 empty] | Blank - 1.5 | 1.0106 | 1.5255 | 7.5103 | 10.0464
[12 empty] | Blank - 2 | 1.0011 | 2.0381 | 7.0077 | 10.0469
[12 empty] | Sm1 - 0 | 1.0139 | 0 | 9.0279 | 10.0418
[12 empty] | Sm1 - 0.5 | 1.0113 | 0.5439 | 8.5112 | 10.0664
[12 empty] | Sm1 - 1 | 1.006 | 1.1029 | 8.0289 | 10.1378
[12 empty] | Sm1 - 1.5 | 1.0123 | 1.539 | 7.5032 | 10.0545
[12 empty] | Sm1 - 2 | 1.0106 | 2.0283 | 7.0101 | 10.049

## Randomizer
Column1 | Column2 | Column3 | Column4 | Column5
Sample | Sm1 - 1 |  | 3206 | 0.39652
Sample | Sm1 - 1.5 |  | 3207 | 0.14301
Sample | Sm1 - 2 |  | 3208 | 0.54338
Sample | Sm1 - 0.5 |  | 3205 | 0.88796
Sample | Sm1 - 0 |  | 3204 | 0.20003

## Full
Sample | [6 empty] | 147 Sm [ He ] |  | 148 Sm [ He ] |  | 152 Sm [ He ]
| Rjct | Data File | Acq. Date-Time | Type | Level | Sample Name | CPS | CPS RSD | CPS | CPS RSD | CPS | CPS RSD
| FALSE | 001SMPL.d | ######## | Sample |  | Rinse | 0 | N/A | 3.34 | 173.2 | 10.01 | 100
| FALSE | 002SMPL.d | ######## | Sample |  | Sm1 - 1 | 93851.9 | 2 | 71871.17 | 0.9 | 185254.7 | 2.3
| FALSE | 003SMPL.d | ######## | Sample |  | Sm1 - 1.5 | 1056104 | 0.1 | 816753.3 | 0.2 | 2096803 | 0.9
| FALSE | 004SMPL.d | ######## | Sample |  | Sm1 - 2 | 1277933 | 1.5 | 996605.6 | 1.5 | 2563380 | 1.2
| FALSE | 005SMPL.d | ######## | Sample |  | Sm1 - 0.5 | 914240.9 | 0.5 | 705879.2 | 0.6 | 1818022 | 0.6
| FALSE | 006SMPL.d | ######## | Sample |  | Sm1 - 0 | 78360.6 | 1.1 | 60947.72 | 2 | 155173.8 | 1.5
| FALSE | 007SMPL.d | ######## | Sample |  | Rinse | 3.34 | 173.2 | 6.67 | 86.6 | 3.34 | 173.2
| FALSE | 008SMPL.d | ######## | Sample |  | Rinse | 3.34 | 173.2 | 3.34 | 173.2 | 13.35 | 43.3

## Calculations
|  |  | 147 Sm [ He ] | 148 Sm [ He ] | 152 Sm [ He ] |  |  | 147 Sm [ He ] |  | 148 Sm [ He ] |  | 152 Sm [ He ]
Name | Sample | Std | CPS | CPS2 | CPS3 | [11 empty] | Sm (ppm)
Sm1 - 0 | 1.0139 | 0 | 78360.6 | 60947.72 | 155173.8 | cnts | b = | 173901.862 |  | 132437.6403 |  | 340705.6263 |  | Vx = | 1.0108 | Cs = | 1.8508
Sm1 - 0.5 | 1.0113 | 0.5439 | 914240.9 | 705879.2 | 1818022 | cnts/m_std | m = | 489246.6754 |  | 381632.2641 |  | 981014.052
Sm1 - 1 | 1.006 | 1.1029 | 93851.9 | 71871.17 | 185254.7
Sm1 - 1.5 | 1.0123 | 1.539 | 1056104 | 816753.3 | 2096803 |  | Cx = | 0.65082 |  | 0.63541 |  | 0.6359 | ppm of sm in the diluted sample
Sm1 - 2 | 1.0106 | 2.0283 | 1277933 | 996605.6 | 2563380
Sample | 147 Sm [ He ] | 148 Sm [ He ] | 152 Sm [ He ] | Dilution # | 147 | 148 | 152 | OG Conc (ppm) | 147 Sm % | 148 Sm% | 152 Sm%
Sm1_1ppm | 0.65082 | 0.63541 | 0.6359 | 97.9519 | 63.7491 | 62.2392 | 62.2877 | 5363.0013 | 1.1887 | 1.1605 | 1.1614
|  |  |  | Replicate 1 |  |  | Replicate 2 |  |  | Replicate 3
name | mass of sample (g) | mas of std (g) | spiked Sm conc (ppb_sam) | Counts | yhat | ε | Counts | yhat | ε | Counts | yhat | ε
zero |  |  | -1000 |  | -266272937.5171 |  |  | -207711384.667 |  |  | -533938913.6582
Sm1 - 0 | 1.0139 | 0 | 0 | 78360.6 | 175031.3598 | -96670.7598 | 60947.72 | 133310.162 | -72362.442 | 155173.8 | 342945.3523 | -187771.5523
Sm1 - 0.5 | 1.0113 | 0.5439 | 0.9954 | 914240.9 | 440253.7471 | 473987.1529 | 705879.2 | 340198.8329 | 365680.3671 | 1818022 | 874769.6732 | 943252.3268
Sm1 - 1 | 1.006 | 1.1029 | 2.0291 | 93851.9 | 715672.7414 | -621820.8414 | 71871.17 | 555041.442 | -483170.272 | 185254.7 | 1427040.2456 | -1241785.5456
Sm1 - 1.5 | 1.0123 | 1.539 | 2.8138 | 1056104 | 924753.802 | 131350.198 | 816753.3 | 718136.6587 | 98616.6413 | 2096803 | 1846289.8958 | 250513.1042
Sm1 - 2 | 1.0106 | 2.0283 | 3.7146 | 1277933 | 1164777.9745 | 113155.0255 | 996605.6 | 905369.2772 | 91236.3228 | 2563380 | 2327586.7195 | 235793.2805
|  |  |  | b/counts = | 175031.3598 | 650727150016.1888 | b/counts = | 133310.162 | 390461274163.2211 | b/counts = | 342945.3523 | 2.5854e+12
|  |  |  | m/(counts/ppb) = | 266447.9689 |  | m/(counts/ppb) = | 207844.6948 |  | m/(counts/ppb) = | 534281.859
|  |  |  | Cx/ppb = | 0.65691 |  | Cx/ppb = | 0.64139 |  | Cx/ppb = | 0.64188
|  |  |  | OG Sm mass frac = | 0.011998 |  | OG Sm mass frac = | 0.011715 |  | OG Sm mass frac = | 0.011724
|  |  |  | SmCl3 wt.% = | 2.049% |  | SmCl3 wt.% = | 2% |  | SmCl3 wt.% = | 2.002%
2.017%
[5 empty] | Wt.% of Sm = | 1.199%
[5 empty] | wt.% of SmCl3 = | 2.047%
x-axis units = g_Sm per 1 billion grams of diluted sample solution