## Prep
Flask | Sample Name | Solute | Solvent | flask w/ lid | + solvent | + sample | Sample | Total Solution | Mass Frac | PPM | Sm PPM | Sm Standard Preperetion | [5 empty] | Cr Standard Preperetion
B15 | Blank |  | 2% HNO3 | 8.0886 | 35.0207 | 35.0207 | 0 | 26.9321 | 1 | 0 | 0 | Sm Initial Concentration |  |  |  | Target Concentration |  | Cr Initial Concentration |  |  |  | Target Concentration
B17 | Sm 2 |  | 2% HNO3 | 8.1095 | 35.0935 | 35.1946 | 0.1011 | 20.0441 | 1 | 5043.8782 | 100.8776 | 1000 | ppm |  |  | 0.01 | ppm | 1002 | ppm |  |  | 0.1 | ppm
Blank |  |  |  | Final | [8 empty] | 1000
Sample | 1 | 1 | 1 | 1 | 1 |  | Goal (ppm) | Dilution (x) | C_Sm (ppm) | C_actual (ppm) |  | Sample | 0.1 | 0.13 |  |  |  | Sample | 0.1 | 0.1 | 1
Solution | 10 | 1 | 1 | 10 | 1 |  | 10 | 10 | 0 | 0 |  | Solution | 10 | 12 |  | Dilution(x) |  | Solution | 10 | 10 | 1 |  | P. Dilution(x) | Dilution (x)
Dilution | 10 | 1 | 1 | 10 | 1 | [6 empty] | Dilution | 100 | 92.3077 |  | 9230.7692 |  | Dilution | 100 | 100 | 1 |  | 100 | 100
[12 empty] | Final Concentration | 0.10833 | ppm |  |  |  | Partial Conc | 10.02 | ppm
Sm 2 |  |  |  | Final | [13 empty] | Final Conc | 0.1002 | ppm
Sample | 1.022 | 0.1012 | 1 | 1 | 1 |  | Goal (ppm) | Dilution (x) | C_Sm (ppm) | C_actual (ppm)
Solution | 10.0425 | 10.0409 | 1 | 10 | 1 |  | 10 | 974.9516 | 0.10347 | 5.1735 |  | NAME | Sample Weight | Stan Weight | HNO3 Weight | Total
Dilution | 9.8263 | 99.2184 | 1 | 10 | 1 | [6 empty] | Blank - 0 | 1.0148 | 0 | 9.0305 | 10.0453
[12 empty] | Blank - 0.5 | 1.0128 | 0.5409 | 8.5209 | 10.0746
[12 empty] | Blank - 1 | 1.0111 | 1.0875 | 8.0351 | 10.1337
[12 empty] | Blank - 1.5 | 1.0106 | 1.5255 | 7.5103 | 10.0464
[12 empty] | Blank - 2 | 1.0011 | 2.0381 | 7.0077 | 10.0469
[12 empty] | Sm2 - 0 | 1.0148 | 0 | 9.0184 | 10.0332
[12 empty] | Sm2 - 0.5 | 1.0116 | 0.5527 | 8.5271 | 10.0914
[12 empty] | Sm2 - 1 | 1.0128 | 1.092 | 8.0291 | 10.1339
[12 empty] | Sm2 - 1.5 | 1.0109 | 1.5286 | 7.514 | 10.0535
[12 empty] | Sm2 - 2 | 1.0126 | 2.0428 | 7.0156 | 10.071

## Randomizer
Column1 | Column2 | Column3 | Column4 | Column5
Sample | Sm2 - 1 |  | 3505 | 0.096825
Sample | Sm2 - 0.5 |  | 3504 | 0.73001
Sample | Sm2 - 0 |  | 3503 | 0.25099
Sample | Sm2 - 1.5 |  | 3506 | 0.5901
Sample | Sm2 - 2 |  | 3507 | 0.7595

## Full
Sample | [6 empty] | 147 Sm [ He ] |  | 148 Sm [ He ] |  | 152 Sm [ He ]
| Rjct | Data File | Acq. Date-Time | Type | Level | Sample Name | CPS | CPS RSD | CPS | CPS RSD | CPS | CPS RSD
| FALSE | 001SMPL.d | ######## | Sample |  | Rinse | 33.37 | 34.6 | 36.71 | 31.5 | 70.08 | 14.3
| FALSE | 002SMPL.d | ######## | Sample |  | Sm2 - 1 | 49939.8 | 2.8 | 38007.17 | 2.5 | 100012.4 | 1.4
| FALSE | 003SMPL.d | ######## | Sample |  | Sm2 - 0.5 | 33406.16 | 1.9 | 25332.3 | 1.5 | 66205.95 | 1.2
| FALSE | 004SMPL.d | ######## | Sample |  | Sm2 - 0 | 7096.52 | 4.2 | 5724.34 | 2.8 | 14781.49 | 2.9
| FALSE | 005SMPL.d | ######## | Sample |  | Sm2 - 1.5 | 70656.53 | 1 | 54237.59 | 0.5 | 141204.4 | 0.7
| FALSE | 006SMPL.d | ######## | Sample |  | Sm2 - 2 | 91153.58 | 2.1 | 70384.48 | 1.8 | 183578 | 0.5
| FALSE | 007SMPL.d | ######## | Sample |  | Rinse | 33.37 | 62.5 | 30.03 | 33.3 | 56.73 | 10.2
| FALSE | 008SMPL.d | ######## | Sample |  | Rinse | 50.05 | 69.3 | 26.69 | 21.7 | 43.38 | 26.7

## Calculations
|  |  | 147 Sm [ He ] | 148 Sm [ He ] | 152 Sm [ He ] |  |  | 147 Sm [ He ] |  | 148 Sm [ He ] |  | 152 Sm [ He ]
Name | Sample | Std | CPS | CPS2 | CPS3 | [10 empty] | Sm (ppm)
Sm2 - 0 | 1.0148 | 0 | 7096.52 | 5724.34 | 14781.49 |  | b = | 8146.4728 |  | 6157.7311 |  | 16179.377 | Vx = | 1.0125 | Cs = | 0.10833
Sm2 - 0.5 | 1.0116 | 0.5527 | 33406.16 | 25332.3 | 66205.95 |  | m = | 40551.4131 |  | 31229.6974 |  | 81456.5202
Sm2 - 1 | 1.0128 | 1.092 | 49939.8 | 38007.17 | 100012.4
Sm2 - 1.5 | 1.0109 | 1.5286 | 70656.53 | 54237.59 | 141204.4 |  | Cx = | 0.021494 |  | 0.021096 |  | 0.021251
Sm2 - 2 | 1.0126 | 2.0428 | 91153.58 | 70384.48 | 183578
Sample | 147 Sm [ He ] | 148 Sm [ He ] | 152 Sm [ He ] | Dilution # | 147 | 148 | 152 | OG Conc (ppm) | 147 Sm % | 148 Sm% | 152 Sm%
Sm2_100ppb | 0.021494 | 0.021096 | 0.021251 | 974.9516 | 20.9554 | 20.5677 | 20.719 | 5043.8782 | 0.41546 | 0.40778 | 0.41078
|  |  |  | Replicate 1 |  |  | Replicate 2 |  |  | Replicate 3
name | mass of sample (g) | mas of std (g) | spiked Sm conc (ppm_sam) | Counts | yhat | ε | Counts | yhat | ε | Counts | yhat | ε
zero |  |  | -1000 |  | -378897694.7642 |  |  | -291798221.2889 |  |  | -761093985.5884
Sm1 - 0 | 1.0148 | 0 | 0 | 7096.52 | 8137.6071 | -1041.0871 | 5724.34 | 6150.9992 | -426.6592 | 14781.49 | 16162.2808 | -1380.7908
Sm1 - 0.5 | 1.0116 | 0.5527 | 0.059189 | 33406.16 | 30564.7546 | 2841.4054 | 25332.3 | 23422.6777 | 1909.6223 | 66205.95 | 61211.8107 | 4994.1393
Sm1 - 1 | 1.0128 | 1.092 | 0.1168 | 49939.8 | 52395.6639 | -2455.8639 | 38007.17 | 40235.1789 | -2228.0089 | 100012.4 | 105063.6735 | -5051.2735
Sm1 - 1.5 | 1.0109 | 1.5286 | 0.16381 | 70656.53 | 70207.2226 | 449.3074 | 54237.59 | 53952.2829 | 285.3071 | 141204.4 | 140841.8456 | 362.5544
Sm1 - 2 | 1.0126 | 2.0428 | 0.21855 | 91153.58 | 90947.3283 | 206.2517 | 70384.48 | 69924.7305 | 459.7495 | 183578 | 182502.6055 | 1075.3945
|  |  |  | b/counts = | 8137.6071 | 15433131.2467 | b/counts = | 6150.9992 | 9085489.0543 | b/counts = | 16162.2808 | 53651294.2114
|  |  |  | m/(counts/ppm) = | 378905.8324 |  | m/(counts/ppm) = | 291804.3723 |  | m/(counts/ppm) = | 761110.1479
|  |  |  | Cx/ppm = | 0.021477 |  | Cx/ppm = | 0.021079 |  | Cx/ppm = | 0.021235
|  |  |  | OG Sm mass frac = | 0.0041513 |  | OG Sm mass frac = | 0.0040745 |  | OG Sm mass frac = | 0.0041046
|  |  |  | SmCl3 wt.% = | 0.7089% |  | SmCl3 wt.% = | 0.6958% |  | SmCl3 wt.% = | 0.7009%
0.7019%
x-axis units = g_Sm per 1 million grams of diluted sample solution