## Prep
Flask | Sample Name | Solute | Solvent | flask w/ lid | + solvent | + sample | Sample | Total Solution | Mass Frac | PPM | Sm PPM | Sm Standard Preperetion | [5 empty] | Cr Standard Preperetion
B15 | Blank |  | 2% HNO3 | 8.0886 | 35.0207 | 35.0207 | 0 | 26.9321 | 1 | 0 | 0 | Sm ISmtial Concentration |  |  |  | Target Concentration |  | Cr ISmtial Concentration |  |  |  | Target Concentration
B17 | Sm 2 |  | 2% HNO3 | 8.1095 | 35.0935 | 35.1946 | 0.1011 | 20.0441 | 1 | 5043.8782 | 100.8776 | 1000 | ppm |  |  | 10 | ppm | 1002 | ppm |  |  | 0.1 | ppm
Blank |  |  |  | Final | [8 empty] | 1000
Sample | 1 | 1 | 1 | 1 | 1 |  | Goal (ppm) | Dilution (x) | C_Sm (ppm) | C_actual (ppm) |  | Sample | 1 | 1.3 |  |  |  | Sample | 0.1 | 0.1 | 1
Solution | 10 | 1 | 1 | 10 | 1 |  | 10 | 10 | 0 | 0 |  | Solution | 10 | 12 |  | Dilution(x) |  | Solution | 10 | 10 | 1 |  | P. Dilution(x) | Dilution (x)
Dilution | 10 | 1 | 1 | 10 | 1 | [6 empty] | Dilution | 10 | 9.2308 |  | 92.3077 |  | Dilution | 100 | 100 | 1 |  | 100 | 100
[12 empty] | Final Concentration | 10.8333 | ppm |  |  |  | Partial Conc | 10.02 | ppm
[18 empty] | Final Conc | 0.1002 | ppm
Sm 2 |  |  |  | Final
Sample | 1.1083 | 1.922 | 1 | 1 | 1 |  | Goal (ppm) | Dilution (x) | C_Sm (ppm) | C_actual (ppm) |  | NAME | Sample Weight | Stan Weight | HNO3 Weight | Total
Solution | 3.0583 | 7.057 | 1 | 10 | 1 |  | 10 | 10.1319 | 9.9565 | 497.8232 |  | Blank - 0 | 1.0148 | 0 | 9.0305 | 10.0453
Dilution | 2.7595 | 3.6717 | 1 | 10 | 1 | [6 empty] | Blank - 0.5 | 1.0128 | 0.5409 | 8.5209 | 10.0746
[12 empty] | Blank - 1 | 1.0111 | 1.0875 | 8.0351 | 10.1337
[12 empty] | Blank - 1.5 | 1.0106 | 1.5255 | 7.5103 | 10.0464
[12 empty] | Blank - 2 | 1.0011 | 2.0381 | 7.0077 | 10.0469
[12 empty] | Sm2 - 0 | 1.0241 | 0 | 9.0396 | 10.0637
[12 empty] | Sm2 - 0.5 | 1.0222 | 0.545 | 8.577 | 10.1442
[12 empty] | Sm2 - 1 | 1.0182 | 1.1019 | 8.0267 | 10.1468
[12 empty] | Sm2 - 1.5 | 1.0224 | 1.5402 | 7.5238 | 10.0864
[12 empty] | Sm2 - 2 | 1.0221 | 2.0425 | 7.0201 | 10.0847

## Randomizer
Column1 | Column2 | Column3 | Column4 | Column5
Sample | Sm2 - 1.5 |  | 4104 | 0.45822
Sample | Sm2 - 0 |  | 4101 | 0.16563
Sample | Sm2 - 0.5 |  | 4102 | 0.34928
Sample | Sm2 - 1 |  | 4103 | 0.062484
Sample | Sm2 - 2 |  | 4105 | 0.12968

## Full
Sample | [6 empty] | 147 Sm [ He ] |  | 148 Sm [ He ] |  | 152 Sm [ He ]
| Rjct | Data File | Acq. Date-Time | Type | Level | Sample Name | CPS | CPS RSD | CPS | CPS RSD | CPS | CPS RSD
| FALSE | 001SMPL.d | ######## | Sample |  | Rinse | 33.37 | 45.8 | 26.69 | 43.3 | 106.79 | 39
| FALSE | 002SMPL.d | ######## | Sample |  | Sm2 - 1.5 | 5897027 | 0.9 | 4488054 | 1.1 | 11750363 | 0.8
| FALSE | 003SMPL.d | ######## | Sample |  | Sm2 - 0 | 873819.8 | 0.3 | 673528.4 | 0.8 | 1749272 | 0.4
| FALSE | 004SMPL.d | ######## | Sample |  | Sm2 - 0.5 | 3049277 | 0.3 | 2327732 | 0.9 | 6080140 | 0.4
| FALSE | 005SMPL.d | ######## | Sample |  | Sm2 - 1 | 4665325 | 0.6 | 3574831 | 0.2 | 9336501 | 0.2
| FALSE | 006SMPL.d | ######## | Sample |  | Sm2 - 2 | 7468482 | 0.5 | 5713291 | 0.4 | 14925605 | 0.5
| FALSE | 007SMPL.d | ######## | Sample |  | Rinse | 36.7 | 15.7 | 53.39 | 28.6 | 100.11 | 20
| FALSE | 008SMPL.d | ######## | Sample |  | Rinse | 43.38 | 26.7 | 36.71 | 41.7 | 120.13 | 8.3

## Calculations
|  |  | 147 Sm [ He ] | 148 Sm [ He ] | 152 Sm [ He ] |  |  | 147 Sm [ He ] |  | 148 Sm [ He ] |  | 152 Sm [ He ]
Name | Sample | Std | CPS | CPS2 | CPS3 | [10 empty] | Sm (ppm)
Sm2 - 0 | 1.0241 | 0 | 873819.8 | 673528.4 | 1749272 |  | b = | 1082702.9101 |  | 830476.8728 |  | 2162352.0454 | Vx = | 1.0218 | Cs = | 10.8333
Sm2 - 0.5 | 1.0222 | 0.545 | 3049277 | 2327732 | 6080140 |  | m = | 3162845.3896 |  | 2414152.5233 |  | 6315993.7228
Sm2 - 1 | 1.0182 | 1.1019 | 4665325 | 3574831 | 9336501
Sm2 - 1.5 | 1.0224 | 1.5402 | 5897027 | 4488054 | 11750363 |  | Cx = | 3.6293 |  | 3.6472 |  | 3.6298
Sm2 - 2 | 1.0221 | 2.0425 | 7468482 | 5713291 | 14925605
Sample | 147 Sm [ He ] | 148 Sm [ He ] | 152 Sm [ He ] | Dilution # | 147 | 148 | 152 | OG Conc (ppm) | 147 Sm % | 148 Sm% | 152 Sm%
Sm2_10ppm | 3.6293 | 3.6472 | 3.6298 | 10.1319 | 36.772 | 36.9529 | 36.7765 | 5043.8782 | 0.72904 | 0.73263 | 0.72913
|  |  |  | Replicate 1 |  |  | Replicate 2 |  |  | Replicate 3
name | mass of sample (g) | mas of std (g) | spiked Sm conc (ppm_sam) | Counts | yhat | ε | Counts | yhat | ε | Counts | yhat | ε
zero |  |  | -1000 |  | -297335244.9784 |  |  | -226949295.5942 |  |  | -593762167.1159
Sm1 - 0 | 1.0241 | 0 | 0 | 873819.8 | 1080263.9297 | -206444.1297 | 673528.4 | 828595.2162 | -155066.8162 | 1749272 | 2157442.5593 | -408170.5593
Sm1 - 0.5 | 1.0222 | 0.545 | 5.7759 | 3049277 | 2803894.2374 | 245382.7626 | 2327732 | 2144226.8248 | 183505.1752 | 6080140 | 5599438.9353 | 480701.0647
Sm1 - 1 | 1.0182 | 1.1019 | 11.7239 | 4665325 | 4578850.1934 | 86474.8066 | 3574831 | 3499034.8421 | 75796.1579 | 9336501 | 9143929.8512 | 192571.1488
Sm1 - 1.5 | 1.0224 | 1.5402 | 16.3199 | 5897027 | 5950385.1874 | -53358.1874 | 4488054 | 4545915.2447 | -57861.2447 | 11750363 | 11882810.9545 | -132447.9545
Sm1 - 2 | 1.0221 | 2.0425 | 21.6486 | 7468482 | 7540556.3019 | -72074.3019 | 5713291 | 5759678.6439 | -46387.6439 | 14925605 | 15058296.5494 | -132691.5494
|  |  |  | b/counts = | 1080263.9297 | 118351572202.6141 | b/counts = | 828595.2162 | 68964661503.0901 | b/counts = | 2157442.5593 | 469909874445.2926
|  |  |  | m/(counts/ppm) = | 298415.5089 |  | m/(counts/ppm) = | 227777.8908 |  | m/(counts/ppm) = | 595919.6097
|  |  |  | Cx/ppm = | 3.62 |  | Cx/ppm = | 3.6377 |  | Cx/ppm = | 3.6204
|  |  |  | OG Sm mass frac = | 0.0072717 |  | OG Sm mass frac = | 0.0073073 |  | OG Sm mass frac = | 0.0072724
|  |  |  | SmCl3 wt.% = | 1.242% |  | SmCl3 wt.% = | 1.248% |  | SmCl3 wt.% = | 1.242%
1.244%
x-axis units = g_Sm per 1 million grams of diluted sample solution